##### SAN
##### EMC Power Path on Linux
To create devices	powermt config
To view devices	powermt display dev=all
Check/remove devices	powermt check
View paths	powermt display paths
Check/repair paths/trespassed disks	powermt restore
Set policy (ie CLARiiON)	powermt set policy=co dev=all
Rename device	emcpadm rename -s {source} -t {target}
View used devices	emcpadm getusedpseudos
Release old devices	powermt release

##### To make mappings consistent across servers in a cluster:
One one server	emcpadm export_mappings -f /tmp/mappings
On every other cluster node, first check what would be changed	emcpadm check_mappings -f /tmp/mappings
Then apply changes	emcpadm import_mappings -f /tmp/mappings
Double-check your work	emcpadm check_mappings -f /tmp/mappings

##### Fix Missing paths
First try:
powermt restore
If that fails:
/sbin/start_dev
/net/swdepot/software/scripts/rescan_luns.sh
##### Adding LUNs without a reboot:
Run this script:
/net/swdepot/software/scripts/rescan_luns.sh
The above shell script performs the following steps for you: Note: you do not need to perform the following steps if you ran the shell script above. This is just for your information.
First, you need to get the HBA’s to issue a LIP and then a re-scan
echo 1 > /sys/class/fc_host/{host#}/issue_lip
echo "- - -" > /sys/class/scsi_host/{host#}/scan
Do this for every host path (usually just 'host0' and 'host1')
Now you just need to tell Power Path to go do its normal discovery
powermt config
If you do a display, you should see the new LUN.
powermt display dev=all